## Question
Bank Name | Question | Randomization (Yes/No) | Correct Answer Number | Answer 1 | Feedback 1 | Answer 2 | Feedback 2 | Answer 3 | Feedback 3 | Answer 4 | Feedback 4 | Answer 5 | Feedback 5 | Answer n | Feedback n
| After precleaning, a flexible endoscope must be _______________. | Yes | 1 | Leak Tested |  | Autoclaved |  | soaked in enzymatic cleaner |  | none are correct
| Surgical _________ are used in place of suture ligatures to occlude blood vessels or other types of hollow structures, such as the bile ducts. | yes | 2 | Sponges |  | Clips |  | tissue grafts |  | scopes
| While cleaning, look for defects in the surface of the instrument. Look for any signs of instrument housing and ____________ damage that may cause accidental burns to the patient. | yes | 2 | ringer rings |  | insulation |  | box lock |  | ratchet
| When a fiberoptic cable is in use, it must not be activated until it is attached to the system. The intense light rays can ________. | yes | 3 | cause eye irritation |  | create glare |  | ignite the patient drapes |  | none are correct
| When the telescope is introduced into the body, the temperature difference creates _______ on the telescope lens. | yes | 1 | fogging |  | crystals |  | bubbles |  | lens flare
| The proximal section of a flexible endoscope where the controls are located is called the ___________________. | yes | 2 | trocar |  | control head |  | lumen |  | lens
| A(n) ________ is used to create ports or channels through the body wall for the insertion of MIS instruments. | yes | 1 | trocar-cannula system |  | wound approximator |  | insufflator |  | hoop-lock
| MIS is performed with the use of a ________ and ________, which are introduced into the body through small incisions at the operative site. | yes | 1 | lensed telescope; long instruments |  | no surgical ; open drainage |  | short surgical device; open drainage |  | blade; audio
| A traditional surgical procedure that includes a large incision and wide access to the targeted tissue is a(n) ________ procedure. | yes | 3 | reduction |  | robotic |  | open |  | MIS
| During MIS, the room lights are usually ________. | yes | 2 | as bright as possible |  | dimmed or turned off |  | flashing |  | not a factor